SECTION 061629 – ACOUSTICAL UNDERLAYMENT

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section includes the following:

Acoustical underlayment.

SUBMITTALS

Product Data: Submit manufacturer’s technical information and installation instructions for all specified materials.

Samples: Prior to commencing the work, submit for approval four (4) representative tile or store samples of each type, finish and color mounted on a complete acoustical underlayment system assembly set over 1/2" Exterior grade plywood using the specified adhesive, mortar and grouted with the specified grout. All samples shall be of current production, properly identified, clean and representative of the appearance of the finished work.

QUALITY ASSURANCE

Provide subflooring adhesive, tile-setting materials and grouts from one source. Adhesive, additives, installation materials and grouts shall be from the same manufacturer.

DELIVERY, STORAGE AND HANDLING

Deliver and store packaged materials in original unopened containers with seals unbroken and labels intact until time of use.

Handle, store and protect materials in a manner to prevent chipping, breakage and damage or contamination to materials by water, moisture, freezing, excessive heat, foreign matter or other causes.

Do not stir any frozen liquid material until completely thawed.

ENVIRONMENTAL REQUIREMENTS

Maintain environmental conditions and protect work during and after installation. Comply with trade standards and manufacturer’s printed instructions.

Turn off all forced ventilation and radiant heating systems and protect the work against drafts during installation and for a least 72 hours after completion.

When necessary, build a temporary shelter and use indirect auxiliary heaters to maintain an adequate temperature level in the working environment.

Exhaust temporary heaters (use only ventilated heater) to exterior to prevent damage to the work from carbon dioxide emanations.

Maintain temperature in tiled areas at not less than 50°F or more than 95°F during installation and for at least 7 days after completion, unless otherwise indicated in the product instructions and/or in ANSI A108 installation standards.

Substrate must be at same temperature as ambient air.

PRODUCTS

MANUFACTURERS

Acoustical Underlayment:

Acoustical Surfaces, Inc. (Basis of Design)

123 Columbia Court North, Suite 201, Chaska, MN 55318.

952-448-5300, Fax: 952-448-2613.

Toll Free: 1-800-448-3134.

Or equal.

ACOUSTICAL UNDERLAYMENT

Product: Acoustik by Acoustical Surfaces, Inc.

Material: 100% Recycled Rubber.

Pattern: Flat.

Thickness: 3/8 inch.

Roll Size: 4′×25′ – Sold in Full Rolls.

Color: Black

Flammability: ASTM E-84.

Flame Spread: 83.

Smoke Developed: 315.

Applications: Sound control floor underlayment for interior, wood, ceramic tile, and stone floor installation.

Warranty: Limited 25 years.

Field Impact Insulation Class (FIIC) Test Data:

Wood Floor over Concrete Slab with acoustical underlayment: 62.

Wood Floor over Concrete Slab, Sound Batt Insulation with acoustical underlayment: 61.

Accessories:

Adhesive: Duro’s Poly 300 or DA5.

Plywood: A.P.A. rated Aspenite, OSB structural type only or Group 1, Exterior Grade plywood - C.C. plugged or better, conforming to U.S. Product Standard PS 1-95 or COFI rated “SELECT’ or (SEL TF) Exterior Grade plywood conforming to CSA 0121 standard for Douglas fir.

Mortar:

Flexible acrylic latex Portland cement mortar, two-component flexible acrylic mortar system conforming to ANSI A118.4 standard. Keralastic Derabond by Mapei Probond Plus system, Pro HPX by Proma, or equal.

Flexible Fast-Setting Latex HCT mortar. Pro Quick system by Proma.

Waterproof Membrane: Thin, load-bearing, trowel-applied waterproof membrane conforming to ANSI A-118.10 standard. PRP 315 by MAPEI, Pro MBR by Proma, or equal.

EXECUTION

EXAMINATION

Before work commences, examine the areas to be covered and report any deficiency or adverse condition in writing to Architect. Do not proceed with the work until surfaces and conditions comply with the manufacturer's instructions and ANSI A108.5 specification requirements. For more details see “TCA HANDBOOK FOR CERAMIC TILE INSTALLATION”.

SURFACE PREPARATION

General:

All supporting floors shall be structurally sound, solid, stable, level, plumb and true to a tolerance in plane of 1/4" in 10'-0". Clean and remove all dust, oil, grease, paint, tar, wax, curing agent, primer, sealer, form release agent and any deleterious substance and debris which may prevent or reduce adhesion.

Mechanically sand, shot blast or scarify the substrate to completely remove all paint, loosely bonded topping, loose particles and construction debris. When sanding or scarifying surfaces that may contain silica sand, use an approved dust mask.

Neutralize any trace of strong acid or alkali from the substrate prior to the application of the panel adhesive.

All substrates shall be dry. The moisture content of the substrate shall not exceed 2.5% Calcium Chloride method.

In all cases, the structural design of the floor shall not allow a deflection greater than 1/360 (1/720 for large format tiles) of the span under live and dead loads.

Concrete Surfaces:

Concrete surfaces shall be dry, completely cured and free of hydrostatic conditions and/or moisture problem.

New concrete surfaces shall be wood floated or broom finished.

Wood Surfaces:

Plywood specified.

Plywood surfaces shall be installed smooth face-up. Offset joints of subfloor and underlayment.

Use exclusively new materials.

When on joists 16" O.C. plywood sub-floors shall consist of 2 layers each 5/8" thick.

Leave a (1/4” gap around drain pipes, conduits, posts and columns and along wall and curb bases. Leave a 1/4" spacing between panels.  Fasten plywood with non-rusting floor wood screws at every 6" O.C. around the perimeter and 8" O.C. in each direction throughout the field of the panel.

The adjacent edges of the wood subflooring shall not be more than 1/32" above or below each other.

All wood – frame sub-floors shall be well heated and properly vented from under.

In all cases, the deflection of the entire floor system under load shall not exceed L/360 (1/720 for large format tiles), including provisions for the weight of the tile, mortar, underlayment, and acoustical underlayment.

Existing Plank or board floors, if solid with a design deflection not exceeding L/360 (1/720 for large format tiles), shall be properly sanded prior to receiving acoustical underlayment.

INSTALLATION

Before setting, ensure that acoustical underlayment subflooring is supplied factory-sanded both sides, free of any form release or other manufacturing residue which could prevent or reduce tile adhesion.

In wet areas and where waterproofing is required, install Pro MBR by Proma or PRP 315 Waterproofing membrane over the entire well prepared clean substrate and 6" up the walls, curbs and columns. Follow Manufacturer’s instructions and allow the membrane to dry and cure undisturbed for at least 24 hours at room temperature and conditions before proceeding further with the installation.

Install a 1/4" thick polyethylene foam or 3/8" thick fiberglass board at the perimeter of the tile installation and around any protrusions through the tile installation.

On the properly prepared clean substrate, apply enough DA5 reactive resin adhesive, using a 3/16" or bigger notches if necessary saw tooth trowel, to achieve a good adhesive contact with the back side of acoustical underlayment subflooring.

Set the soundproofing subflooring while adhesive is wet. Apply sufficient pressure on each subfloor unit to achieve good adhesive contact.

Leave approximately 1/32" spacing between units and 1/4" spacing between acoustical underlayment subflooring and materials which it abuts such as walls, drains, pipes, conduits, columns and posts.

Weigh down corners to avoid lippage and so that edges and corners are fully backed with adhesive when wet.

Allow adhesive and subflooring to test undisturbed for at least 16 hours at room temperature and conditions before proceeding further with the installation.

In Commercial and Institutional Installations:

Trowel-apply DA5 reactive resin adhesive over the top face of acoustical underlayment subflooring using a 3/16" saw tooth trowel. Set one layer of 1/2 inch thick Exterior Grade Plywood panels while adhesive is wet.

Apply sufficient pressure on the plywood to achieve good adhesive contact.

Do not use nails, screws, or staples.

Leave approximately 1/4" spacing between each plywood panel and between plywood panels and the materials which they abut such as walls, drains, pipes, conduits, columns and posts.

Apply plywood panels so that Edges and corners are fully backed with adhesive when set and that the adjacent edges of the plywood panels are not more than 1/32" above or below each other.

Allow adhesive and plywood panels to rest undisturbed for at least 16 hours at room temperature and conditions before proceeding further with the installation.

For Commercial and Institutional Installations In Wet Areas:

Install a layer of Cementitious Backer Unit (CBU) instead of using Plywood as the tile underlayment. In this case, install the CBU with Keralastic or Probond Plus System by Proma and Kerabond or Grani/Rapid tile-setting mortar system or Pro Quick Plus System by Proma instead of DA5 adhesive.

Do not use nails, screws, or staples.

Leave a 1/8" gap between the CBU panels. Butt-bond CBU panels with the same tile-setting mortar and tape both sides of panel edges with 2" wide coated fiberglass tape.

Do not fill joints that abut walls, columns, pipes, and conduits.

Apply the tile-setting mortar using a notched trowel with deep enough grooves to achieve an 90% minimum mortar contact with the back side of the tile or stone. (Edges and corners must be fully backed with mortar when set.) In Commercial and Institutional installations, fill joints between plywood panels with fresh setting mortar, using the flat side of the trowel as you go. Do not fill joints that abut walls, columns, pipes, and conduits.

In wet areas and traffic floors, use the flat edge of the trowel and back butter each tile or stone immediately before laying with a sufficient mortar layer to achieve a 100% mortar contact and avoid-free solid support. Simultaneously, apply the mortar to the underlayment surface with a notched trowel with deep enough grooves to achieve a continuous bed without voids or unsupported areas. Lay tile or stone while both mortar surfaces are wet. Do not allow mortar to dry or skin over on either surfaces before laying the stone.

Where medium-bed mortar installation is required, use a specially designed medium-bed trowel with 3/4" wide x 9/16" deep notches to install KER 318 / GRANI/RAPID flexible HCT mortar or Pro Flex SF by Proma.

Install tile or stone according to the manufacturer’s strict recommendations for the respective mortar systems and following the general outline procedure set forth in ANSI A108.5 Specification for the Installation of Ceramic Tiles.

Install tiles and stone leaving a regular even spacing between tiles of at least 1/8". For commercial floors and large areas, set tiles leaving a 3/16" joint spacing.  No butt joints shall be permitted.

EXPANSION AND CONTROL JOINTS

Install a flexible acoustical sealant, Pro Color Seal by Proma- 42 colors in joints where the tile or stone abuts restraining surfaces, around the perimeter of the work, around drain, pipe and conduit openings and at the base of walls, columns and curbs and also in joints at every 10 to 15 feet both directions.

In the field of the tile work, install expansion and control joints in all directions following Detail #EJ-171 recommendations published in the latest edition of the Tile Council of America HANDBOOK FOR CERAMIC TILE INSTALLATION. CAUTION CONTROL JOINTS: It must be clearly pointed out that under no circumstance should the control joint be cut in after the tile or stone has been installed. Install up to the control joint location and stop. If required, cut the tile or stone and resume setting from the opposite side. Before continuing, rake the joint clean.

Install an approved compressible bead and sealant to caulk expansion and control joints. Follow the sealant manufacturer’s strict instructions. Pro Color Seal by Proma.

GROUTING

Where tiles or stone are installed with KERALASTIC / KERABOND or Pro Bond Plus System, flexible latex Portland Cement mortar, grout no sooner than 24 hours after installation.

Where tiles or stone are installed with KER 318 / GRANI/RAPID or Pro Quick Plus System, fast-setting flexible latex HCT mortar, grout no sooner than 3 to 4 hours after installation.

Use caution when grouting “High Polish” marble or stone to prevent scratching or damaging the surface. Always do a test area and obtain the architect’s written approval before proceeding with the grouting of the entire work. Use non sanded polymer modified grout.

On floors where joints are specified to be 1/8" to 5/8" wide, install KER 700 ULTRA/COLOR (or KER 200) SANDED grout as specified or Pro Top Grout polymer modified water bead technology by Proma.

Install grout in strict accordance with the grout manufacturer’s instructions and following the general outline procedure of ANSI A108.10 for latex Portland cement grouts.

CLEANING

Remove all grout and mortar residue immediately while work progresses and before materials harden on the tile or stone surface.

Clean tiles and stone completely leaving no apparent cement laitance or surface film. Do not acid wash, especially where pigmented grouts are specified.

PROTECTION

Flexible acrylic latex Portland cement mortar installation: Floors: protect floors from foot traffic for a least 24 hours and general traffic for at least 72 hours after installation. Prohibit heavy traffic on floors for at least 7 days after installation.

Flexible fast-setting latex HCT installation or else: Floors: protect floors from general traffic for at least 3 to 4 hours after installation. Prohibit heavy traffic on floors for at least 24 hours after installation.

Since temperature and humidity during and after installation affect the final curing time of all cement based materials allow for extended periods of cure and protection when temperatures drop below 60°F and/or when the relative humidity is higher than 70%.

END OF SECTION 061629